Questionnaire for Oil Metering Unit

(commercial, operational)

Company: _________________________________________________________________________

Field: _____________________________________________________________________________

Responsible person: _________________________________________________________________

Phone/fax: ________________________________________________________________________

Email: ____________________________________________________________________________

| Seq. No. | Indices |  |  | Values |
| --- | --- | --- | --- | --- |
| 1 | 2 |  |  | 3 |
| GENERAL DATA |  |  |  |  |
|  | Purpose and Application |  |  |  |
|  | Type of Metering: commercial or operational |  |  |  |
|  | Climatic Category and Location Category According to GOST 15150-69 |  |  |  |
|  | Outdoor Air Temperature, оС |  | min |  |
|  |  |  | max |  |
|  | Premise Explosion Hazard according to PUE |  |  |  |
| WORKING MEDIUM CHARACTERISTICS |  |  |  |  |
|  | Pumped Liquid Name |  |  |  |
|  | Content of Corrosive Ion-Active Components, % mol | - Н2S (hydrogen sulfide) |  |  |
|  |  | - CO2 (carbon dioxide) |  |  |
|  | Flow rate, m3/day |  |  |  |
|  | Pressure in the System, MPa, (G). |  |  |  |
|  | Processing medium temperature, оС |  |  |  |
|  | Density at 20 оС, kg/m3 |  |  |  |
|  | Viscosity, mm2/sec |  |  |  |
|  | Vapor Elasticity, kg/cm2 (abs.) |  |  |  |
|  | Wax fraction by weight, % |  |  |  |
|  | Sulfur fraction by weight, % |  |  |  |
|  | Volumetric content of water in oil, % |  |  |  |
|  | Toxicity according to GOST 12.1.005-88 (MPC, mg/m3) |  |  |  |
|  | Hazard Class according to GOST 12.1.007-76 |  |  |  |
|  | Explosion Hazard according to GOST R51330.11-99 |  |  |  |
|  | pH for water solutions |  |  |  |
|  | Content of Mechanical Impurities, mg/dm3 |  |  |  |
| SCOPE OF EQUIPMENT |  |  |  |  |
|  | Inlet filter unit: yes, no |  |  |  |
|  | Metering lines unit, their quantity, pcs. |  |  |  |
|  | Flow rate regulation unit: yes, no |  |  |  |
|  | Quality measuring unit: yes, no |  |  |  |
|  | Verification unit (VU): yes, no |  |  |  |
|  | Fixed pipe-piston VU: yes, no |  |  |  |
|  | Mobile VU: yes, no |  |  |  |

| 1 | 2 |  |  |  | 3 |
| --- | --- | --- | --- | --- | --- |
| AUTOMATION EQUIPMENT, MEASURED PARAMETERS |  |  |  |  |  |
|  | Control and measuring instruments: yes, no |  |  |  |  |
|  | Control and data processing system: yes, no, recommended manufactorers |  |  |  |  |
|  | Operator’s AWP: yes, no |  |  |  |  |
|  | Volumetric flow rate: yes, no Error of measurement, % |  |  |  |  |
|  | Mass flow rate: yes, no Error of measurement, % |  |  |  |  |
|  | Density, kg/m3 |  |  |  |  |
|  | Volumetric content of water in oil, % |  |  |  |  |
|  | Viscosity, mm2/sec |  |  |  |  |
|  | Pressure, MPa |  |  |  |  |
|  | Temperature, оС |  |  |  |  |
|  | Availability of density meter: yes, no / quantity, pcs. |  |  |  |  |
|  | Availability of moisture content meter: yes, no / quantity, pcs. |  |  |  |  |
|  | The necessity of metrological expert examination of the project / metering unit |  |  |  |  |
|  | Oil sampling unit: yes, no |  |  | - manual |  |
|  |  |  |  | - automatic |  |
|  | Data transmission to high-level Automatic Process Control System: yes, no |  |  |  |  |
|  | Type of flow rate meter: |  | - mass-rate (Coriolis) |  |  |
|  |  |  | - turbine |  |  |
|  | Type of sampling device: |  | - slit |  |  |
|  |  |  | - multi-point |  |  |
|  | Type of drives of stop and regulatory valves: |  |  |  |  |
|  | - manual |  |  |  |  |
|  | - electrical |  |  |  |  |
|  | - pneumatic |  |  |  |  |
| OPERATION AND CONTROL CONDITIONS |  |  |  |  |  |
|  | Type of Supply: packaged, non-packaged |  |  |  |  |
|  | Required Service Life of Product, years |  |  |  |  |
|  | Location of Technological Process Control Station |  |  |  |  |
|  | Product Location (indoors, on open ground) |  |  |  |  |
|  | Indoor Air Temperature |  |  |  |  |
|  | Whether additional services are required | Erection supervision |  |  |  |
|  |  | Start-up operations |  |  |  |
|  |  | Transportation (point of destination) |  |  |  |
|  | Requirements to control and measuring equipment and automation |  |  |  |  |
|  | The name of the design institute, contact telephone numbers |  |  |  |  |

Stamp here_____________________ Signature of the Director of Company (Head of Department)

____________________ Printed Name