Questionnaire for Ordering Equipment of

Water Treatment Plant (WTP)

Company: _________________________________________________________________________

Field: _____________________________________________________________________________

Responsible person: _________________________________________________________________

Phone/fax: ________________________________________________________________________

Email: ____________________________________________________________________________

| No. | Indices of Designation | Values tolerances |
| --- | --- | --- |
| 1 | 2 | 3 |
|  | Throughput, m3/day - minimum - maximum |  |
|  | Pressure, MPa: - at inlet to the plant |  |
|  | - at output from the plant (required) |  |
|  | Temperature, С: - at inlet to the plant |  |
|  | - at output from the plant (required) |  |
|  | Source of contaminated water |  |
|  | User of treated water (after WTP) |  |
|  | Contamination of input water, mg/dm3: - oil products (oil) |  |
|  | - mechanical impurities |  |
|  | - other contamination |  |
|  | Content of gas in water, dm3/dm3: - free |  |
|  | - dissolved |  |
|  | Requirements to the treated water quality (after WTP) for residual content of, mg/dm3: - oil products (oil) |  |
|  | - mechanical impurities Other Requirements |  |
|  | Water Properties: |  |
|  | density at 20 С, kg/m3 |  |
|  | - hydrogen index, рН |  |
|  | - total salt content, g/dm3 |  |
|  | Content in water, mg/dm3: |  |
|  | - hydrocarbonates, НСО3- |  |
|  | - sulfates, SO42- |  |
|  | - chlorides, Cl- |  |
|  | - calcium, Са2+ |  |
|  | - magnesium, Mg2+ |  |
|  | - sodium + potassium, Na+ + K+ |  |
|  | - iron sulfide, FeS |  |
|  | - hydrogen sulfide, H2S |  |
|  | - carbon dioxide, СО2 |  |
|  | - ferrous iron Fe2+ |  |
|  | - ferric iron Fe3+ |  |

Table continued

| 1 | 2 |  | 3 |
| --- | --- | --- | --- |
|  | Properties of Oil (Oil Products): |  |  |
|  | - kinematic viscosity, mm2/sec, at 20 С at 50 С |  |  |
|  | density at 20 С, kg/m3 |  |  |
|  | - cogelation temperature, С |  |  |
|  | Content in Oil (Oil Products) of, % weight: |  |  |
|  | - wax |  |  |
|  | - total sulfur |  |  |
|  | - mercaptan sulfur |  |  |
|  | - hydrogen sulfide |  |  |
|  | - resins and asphaltenes |  |  |
|  | Granulometric (Particle Size) Composition Of Mechanical Impurities, % weight | over 1000 µm 800÷1000 µm 600÷800 µm 400÷600 µm 200÷400 µm 160÷200 µm 120÷160 µm 80÷120 µm 60÷80 µm 40÷60 µm 20÷40 µm 10÷20 µm 5÷10 µm less than 5 µm |  |
|  | Composition (Nature) of Mechanical Impurities |  |  |
|  | Gas Properties, under standard conditions: |  |  |
|  | - gas density, kg/m3 |  |  |
|  | Content in Gas of, % mol.: |  |  |
|  | - N2 (nitrogen) |  |  |
|  | - СО2 (carbon dioxide) |  |  |
|  | - Н2S (hydrogen sulfide) |  |  |
|  | -СН4 (methane) |  |  |
|  | - С2Н6 (ethane) |  |  |
|  | - С3Н8 (propane) |  |  |
|  | - iC4H10 (isobutane) |  |  |
|  | - nC4H10 (n-butane) |  |  |
|  | - iC5H12 (isopentane) |  |  |
|  | - nC5H12 (n-butane) |  |  |
|  | - С6+higher (hexane) |  |  |
| 24 | Climatic Conditions of Product Operation Area: - mean temperature of the coldest consecutive days, 0С - absolute minimal temperature, 0С |  |  |
| 25. | Specify the type of construction (reconstruction, new construction, scale-up etc.) |  |  |

Table continued

| 1 | 2 |  | 3 |
| --- | --- | --- | --- |
| 16. | In case of reconstruction, please attach the current process flow chart of the project, VE with a brief description of process flow functions, list of the main process parameters and equipment |  |  |
| 17. | Requirements to the automation system (APCS) |  |  |
| 18. | Whether additional services are required | Erection supervision |  |
|  |  | Start-up operations |  |
|  |  | Transportation (point of destination) |  |
| 19. | Requirements to control and measuring equipment and automation |  |  |
| 20. | Additional Requirements of the Customer |  |  |
| 21. | Special Conditions |  |  |
| 22. | The name of the design institute, contact telephone numbers |  |  |

Stamp here_____________________ Signature of the Director of Company (Head of Department)

____________________ Printed Name